TEMPLE CITY UNIFIED SCHOOL DISTRICT

**ADDENDUM NO. 1**

**CalSHAPE HVAC Services**

BID NO. 22-23/001P

To: All Prospective Bidders Date: August 26, 2022

With this Addendum No. 1, Temple City Unified School District (“District”) provides the following changes to the original Request for CalSHAPE HVAC Services dated August 23, 2022. Unless explicitly stated herein, all other terms, conditions, and requirements of the RFQ are in full force and effect and shall remain unchanged. In case of conflict between the RFQ and this Addendum, this Addendum shall govern.

The District hereby confirms it has successfully submitted its CalSHAPE applications and has received approved funding for eight (8) sites at seven (7) locations. Currently, Attachment A lists six (6) sites, however, Dr. Doug Sears Learning Center and Temple City Alternative are the same site with the same address. This addendum also includes two additional sites that were approved by the CEC (California Energy Commission). The total requested amount is $642,326.40. The revision to Attachment A is on the next page.

**Attachment “A”**

**THESE SITES HAVE BEEN APPROVED BY THE CEC:**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Site | Assessment & Maintenance (approx. $1,000 per unit) | CO2 Monitors | MERV Filters | 20% Contingency | Total Funding |  | Approx. Units | Approx. CO2 Monitors |
| Longden Elementary | $55,944.00  |  $52,800.00  |  $4,725.00  |  $24,691.80  |  $138,160.80  |  | 56 | 88 |
| Temple City High | $75,924.00  |  $30,000.00  |  $15,450.00  |  $26,272.80  |  $147,646.80  |  | 76 | 50 |
|  | *$131,868.00*  |  *$82,800.00*  |  *$20,175.00*  |  *$50,964.60*  |  *$285,807.60*  |  | *132* | *138* |

**THESE SITES ARE PENDING GRANT FUNDING APPROVAL:**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Site | Assessment & Maintenance (approx. $1,000 per unit) | CO2 Monitors | MERV Filters | 20% Contingency | Total Funding |  | Approx. Units | Approx. CO2 Monitors |
| Dr. Doug Sears Learning Center | $1,998.00  | $1,200.00  | $150.00  | $2,667.60  |  $6,015.60  |  | 2 | 2 |
| Temple City Alternative | $4,995.00  | $3,000.00  | $375.00  | $3,672.00  |  $12,042.00  |  | 5 | 5 |
| Cloverly Elementary  | $26,973.00  | $16,200.00  | $3,600.00  | $11,352.60  |  $58,125.60  |  | 27 | 27 |
| Emperor Elementary | $38,961.00  | $23,400.00  | $4,350.00  | $15,340.20  |  $82,051.20  |  | 39 | 39 |
| La Rosa Elementary | $46,953.00  | $28,200.00  | $5,325.00  | $18,093.60  |  $98,571.60  |  | 47 | 47 |
| Oak Avenue Intermediate | $45,954.00  | $30,600.00  | $4,875.00  | *$18,283.80*  |  $99,712.80  |  | 46 | 51 |
|  | *$165,834.00*  |  *$102,600.00*  |  *$18,675.00*  |  *$69,409.80*  |  *$356,518.80*  |  | 166 | 171 |

Except for the clarification herein, all terms, conditions, and requirements remain as stated in the RFQ. However, unless and until any such subsequent addenda are issued, the RFQ and this Addendum No. 1 shall constitute the entire and complete RFQ.